## Slide 1
Disclaimer: this safety moment is designed to prevent similar incidents occurring. All guidance herein is provided in good faith and Step Change in Safety nor its member companies accept responsibility for any inaccuracies or omissions contained within this safety moment.
Fatal Ammonia Gas Release

## Slide 2
Description of event
During the removal of a compressor from a refrigeration system at a brewery, there was a large, uncontrolled release of ammonia.
The release killed one contractor and seriously injured another. A further 20 people required medical treatment as a result of exposure.
The incident occurred because of a failure to put appropriate isolation controls in place.
Fatal Ammonia Gas Release

## Slide 5
Further Reading
Press Release :
https://press.hse.gov.uk/2022/06/28/carlsberg-fined-3m-following-2016-ammonia-gas-leak/
HSG253 – The Safe Isolation of plant and equipment:
https://www.hse.gov.uk/pubns/books/hsg253.htm
For more information on Process Safety:
https://www.stepchangeinsafety.net/alerts-moments/process-safety-fundamentals/
Fatal Ammonia Gas Release